
[image: image1.png]z
=
w
T
=
a
<
i
=
-
o
o
w
o
@
o





	Activity 2.1.1 Wood Frame Systems



Introduction

Most people do not consider what is behind the painted walls or exterior surface in most buildings. Homes are often constructed with a wood frame, especially if the area has an abundant supply of wood. Much of the United States has an abundant supply, so wood frame buildings are common. Different regions, however, dictate other differences, such as whether the outside facing walls are made of 2x4 or 2x6 studs to allow for different amounts of insulation. Wood frame construction has existed for many years. If you visit a construction site to observe the skeleton of such a structure, you should be able to make sense of the placement of the different support pieces. 

Equipment

· Internet and/or reference texts

Procedure

In this activity you will use available resources to identify the primary parts of a traditional wood frame structure and then describe the purpose of each.

1. Use letters or numbers to identify at least 15 components in the image below. Then list the purpose of each component.

2. Upon completion, discover and include any components that should be added to your table.

	Label
	Component
	Component’s Purpose

	1
	Floor Joist
	Horizontal boards that give support to hold load.


	2
	Sub Floor
	OSB board that supports finish board.


	3
	Stud
	Vertical 2x4 to support wall and its load.


	4
	Top Plate
	Boards on top of studs to hold walls together.


	
	
	

	5
	Sole plate
	Board’s in-between studs at base to hold them in place.


	6
	Header
	Top support board for windows and doors. (horizontal)


	7
	Sill
	Bottom support board for windows. 


	8

	Truss
	An assembly of members for frame works. (triangles)


	9
	Insulation
	Material used to prevent head or sound from exiting structure.



	10
	Sheathing
	Plywood placed over exterior stud for base for shingles.


	11
	Vapor Barrier
	Material to keep water out and allow water vapor to escape.


	12
	Siding
	Boards or shingles used for surfacing outside walls.



	13
	Roof Felt
	Tar paper used for water protection



	14
	Asphalt Shingles
	Asphalt felt covered with mineral granules (tar and pebbles)


	15
	Cripple

	Header transfers load to sill for support (window opining)

	
	
	

	
	
	


[image: image2.png]




Conclusion
[Type a quote from the document or the summary of an interesting point. You can position the text box anywhere in the document. Use the Drawing Tools tab to change the formatting of the pull quote text box.]

3. List, describe, and explain the purpose of two components of a residential building that you are familiar with, such as your home.

Asphalt shingles, thin layer of tar that you nail to the roof to make it waterproof.
Stud, piece of wood cut to specific size used to make support for home.

4. Which part of wood frame construction do you think will change the most in the near future? Explain the change and why you believe it will occur soon.


I believe the subfloor will change soon, OSB is a large heavy piece of wood so they will find something of similar strength that is easier to install and will last longer.[image: image3.png]



15





14





13





12





11





3





10





9





8





7





6





4





2





1





5








© 2010 Project Lead The Way, Inc.

CEA Activity 2.1.1 Wood Frame Systems – Page 4

